UCD Chemistry Department Research Ramp Down Checklist

March 18, 2020

- Assess and prioritize critical laboratory activities.

How should I prioritize my research activities to maximize continuity?

| Rating | Description |
| --- | --- |
| High | Impacts continuity of high-value strategic and/or multi-stakeholder research having substantial sunk costs or prior investment. Cannot be paused without causing significant disruption to research or business operations, upstream and downstream dependent organizations or units, revenue and finances, or other core mission services. |
| Medium | Impacts continuity of long-term research which may be reduced for a month or more. May cause disruption to research or business operations, upstream and downstream dependent organizations or units, revenue and finances, or other core mission services. |
| Low | Impacts of research which may be paused for a month or more. May cause some disruption to research or business operations, upstream and downstream dependent organizations or units, revenue and finances, or other core mission services. |
| Deferrable | May pause and resume when conditions permit. May cause negligible disruption to research or business operations, upstream and downstream dependent organizations or units, revenue and finances, or other core missions services. |

If your laboratory has essential functions that must be continued under any circumstances, please immediately identify the key laboratory members, PPE, and equipment needed to perform these functions. Provide this information to your lead administrator and Department Safety Manager.

Preparing:

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Identify all non-critical activities that can be ramped down, curtailed, suspended or delayed. |  |  |  |
| Identify procedures and processes that require regular personnel attention (e.g. cell culture maintenance, animal studies). |  |  |  |
| Identify personnel able to safely perform these essential activities. |  |  |  |
| Ensure staff have the necessary and appropriate training to perform essential laboratory functions. Cross-train research staff to fill in for others who may be out sick or unable to come to work. Consider documenting critical functions with step-by-step instructions. |  |  |  |

Communications:

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Immediately update your laboratory member contact lists with current emails and phone numbers. Share them electronically and in paper form with each laboratory member and Department Safety Manager. |  |  |  |
| Update your contact list of important non-laboratory support staff, vendors, and suppliers. Circulate this list electronically and in paper form with each laboratory member. |  |  |  |
| Test your phone tree or email group to facilitate emergency communication amongst lab researchers and staff. |  |  |  |
| Ensure that emergency contacts listed on lab placards are up to date and posted on outside of lab doors. |  |  |  |
| Make sure Department Safety Manager has current Lab Safety Representative contact information for each lab |  |  |  |

Shipping/Receiving:

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Do not order any new research materials except those items needed to support minimal critical functions. |  |  |  |
| Cancel orders for non-essential research materials if they have not yet shipped. |  |  |  |
| Contact Storeroom personnel to notify them of any expected incoming shipments. |  |  |  |
| Do not place any packages potentially containing dry ice in a walk in cold room or freezer |  |  |  |

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Freeze down any biological stock material for long term storage. |  |  |  |
| Consolidate storage of valuable perishable items within storage units that have backup systems. |  |  |  |
| Fill dewars and cryogen containers for sample storage and critical equipment. |  |  |  |
| Properly secure all hazardous materials in long-term storage. |  |  |  |
| Ensure all flammables are stored in flammable storage cabinets when possible. |  |  |  |
| Ensure that all items are labeled appropriately. All working stocks of materials must be labeled with the full name of its contents and include hazards. |  |  |  |
| Remove all chemicals and glassware from benchtops and fume hoods and store in cabinets or appropriate shelving. |  |  |  |
| Request waste pickups for peroxide-forming |  |  |  |
| chemicals or other chemicals (i.e. pirhana etch) that may become unstable over time (plan for 2 months). |  |  |  |
| Collect contents of any acid/base baths and request waste pickup. |  |  |  |
| Remove infectious materials from biosafety cabinets, and autoclave, disinfect, dispose or safely store them as appropriate. |  |  |  |
| Confirm inventory of controlled substances and document in logbook. |  |  |  |
| Secure physical hazards such as sharps. |  |  |  |
| Ensure all radioactive materials are locked/secured inside a refrigerator, freezer, or lockbox. |  |  |  |

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Ensure all gas valves are closed. If available, shut off gas to area. |  |  |  |
| Turn off appliances, computers, hot plates, ovens, and other equipment. Unplug equipment if possible. |  |  |  |
| Check that all gas cylinders are secured and stored in an upright position. Remove regulators and cap the cylinders, if not in active use. |  |  |  |
| Elevate equipment, materials and supplies, including electrical wires and chemicals, off the floor to protect against flooding. |  |  |  |
| Inspect all equipment requiring uninterrupted power for electricity supplied through an Uninterrupted Power Supply (UPS).. |  |  |  |

Equipment:

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Check that refrigerator, freezer, and incubator doors are tightly closed. |  |  |  |
| Biosafety cabinets: Disinfect and remove all items from the biosafety cabinet, surface decontaminate the inside work area, close the sash and power down. Do NOT leave the UV light on. |  |  |  |
| Fume hoods: Clear the hood of all hazards and shut the sash |  |  |  |
| Review proper shut down procedures and measures to prevent surging. |  |  |  |
| If feasible, shut down and unplug electric equipment. |  |  |  |
| Cover and secure or seal vulnerable equipment with plastic. |  |  |  |

Decontamination

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Decontaminate areas of the lab as you would do routinely at the end of the day. |  |  |  |

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Collect and properly label all hazardous chemical waste containers. Segregate incompatible chemicals by means of a physical barrier (e.g., plastic secondary bins or trays). |  |  |  |
| Place a request for chemical hazardous waste |  |  |  |
| to be collected. |  |  |  |
| Biological waste: Disinfect and empty aspirator collection flasks. |  |  |  |
| Collect all solid biological waste in appropriate containers. Disinfect or autoclave BSL-1 waste and dispose. Transport biohazard/medical waste to the waste accumulation room. |  |  |  |
| Collect radioactive material into the appropriate waste containers and request EH&S to pick up radioactive waste. |  |  |  |

Security

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Lock all entrances to the lab. Ensure key personnel who will support critical functions have appropriate access. |  |  |  |
| Ensure windows are closed. |  |  |  |
| Secure lab notebooks and other data. |  |  |  |
| Take laptops home. |  |  |  |
| If Controlled Substances are needed during wind-down or animal emergencies, ensure that those performing the essential tasks know how to access. |  |  |  |

General Area

| ITEM | Complete | N/A | Notes |
| --- | --- | --- | --- |
| Remove all perishable and open food items from , the lab’s break areas, lockers, personal spaces |  |  |  |

We gratefully acknowledge our colleagues at Harvard University, Yale University and UC Berkeley whose ramp-down checklist we adopted.